## Slide 1: REALIZATION OF PROTOTYPE MODEL OF PROCESS AUTOMATION SYSTEM USING RASPBERRY Pi

## Slide 2: CONTROL SYSTEMS

## Slide 3: Process automation system in shar
PLCs
Process
Servers
Operator Consoles

## Slide 4: PLC
It is a small, Modular solid state computer with customized instructions for performing a particular task.
They are used in manufacturing plants or other automation environments.

## Slide 6
Plc Scan cycle
1. Input Scan
Scan the state of inputs.
2. Program Scan
Process the program logic.
3. Output Scan
Energize or de energizes the outputs.
4. Housekeeping
This step includes communications, Internal Diagnostics, etc.

## Slide 7: PLC OVERVIEW
SCADA Client + Web Server

## Slide 8: plc
Analog inputs
Flow Transducers
Temperature Transducers
Humidity Transducers
Pressure Transducers
Analog output
Analog Valves
Actuators
Analog meters
Chart Recorder

## Slide 9: PLC
DISCRETE INPUT
Level Switches
Limit Switches
Proximity Switches
Push Buttons
Relay Contacts
DISCRETE OUTPUT
Alarms
Control Relays
Solenoids
Valves

## Slide 10: Server Rack
The Servers runs continuously so the generated heat may effect the working of the servers.
To avoid this internal AC is placed inside the Server racks
It maintains at temperature of 24oC +1oC
There will be an inbuild controller which detects the rise in temperature.
If the internal temperature rises more than the required then the doors will opens.

## Slide 11: Project Title
REALIZATION OF PROTOTYPE MODEL OF PROCESS AUTOMATION SYSTEM USING RASPBERRY Pi
Objective :- To detect the rise in temperature of the server rack and open the door using Raspberry Pi controller

## Slide 12: PROJECT
HMI
PLC
I/O
MODBUS
TCP/IP
HMI
RPi
Sensor & RELAY
Serial
communication
MODBUS

## Slide 13: Raspberry Pi
Boardoom BCM2711, quardcoreCortex-A72(ARM v8) 64-bit soc @1.5 GHz
4GB memory
Opertaing temperature 0-50 C
Standard 40 pin GPIO Header

## Slide 14: Raspberry Pi

## Slide 15: PROJECT
Here we established the communication between server and client system using Raspberry pi .
Here the client system receive the the data from the server through Raspberry pi.
The LED turns on when the RPi board temperature exceeds the threshold temperature.

## Slide 16: PROJECT

## Slide 17: PROJECT
Result:-